## Slide 1: Welcome
Suvom Karmakar
ID: 021 221 027
Electrical Wiring & Drafting

## Slide 2: Table of Content
Layout
Switch Board Calculation
Switch Board Connection Diagram
Breaker selection for Switch Board grouping
Load Division
SDB & MDB Calculation
SDB & MDB Diagram
Single line Diagram (SLD)
Emergency Fire Alarm
Conclusion

## Slide 3
Civil Layout

## Slide 4
Fittings & Fixture Layout

## Slide 5
Conduit
Layout

## Slide 6
Conduit of Light Load
Layout

## Slide 7
Conduit of Heavy Load
Layout

## Slide 8
Switch Board Grouping
Layout

## Slide 9
Conduit of TV and Internet Connection
Layout

## Slide 10
Switch Board calculation

## Slide 11
Switch Board calculation

## Slide 12
Switch Board Connection Diagram

## Slide 13
Breaker Selection for Switch Board Grouping

## Slide 14
Load Division

## Slide 15
Calculation for SDB and MDB

## Slide 16
Sub-Distribution Board Diagram

## Slide 17
Main Distribution Board Diagram

## Slide 18
Single Line Diagram
Single Line Diagram (SLD) of a Typical 11KV/400V
Indoor Substation
Substation Area Requirements:
Total Area: 48m^2 (for 250 KVA)
Transformer Area: 13m^2 (for 250 KVA)
Location Consideration:
Placement: Substations preferred on the
ground floor, not in the basement
Regulatory Requirement in Bangladesh:
Rule: Buildings with a load exceeding 50KW must have 11KV/400V Electrical substations as per Bangladesh distribution company regulations.

## Slide 19
Emergency Fire Generator

## Slide 20
Earthing System
Pipe earthing works by securely connecting a metal pipe to the electrical system, allowing excess electrical current to safely dissipate into the ground, preventing electrical hazards.

## Slide 21
Lightning System
Components:
  Air Terminals (Lightning Rods): Installed on high points, they intercept lightning strikes.
  Conductors: Channel lightning currents safely to the ground.
  Grounding System: Ensures effective dissipation of lightning energy into the ground.
How It Works:
  When lightning approaches, the air terminals attract the electrical discharge.
  The lightning current is then conducted through the system, preventing damage to the structure.
  Grounding ensures the safe dissipation of the electrical energy into the ground.

## Slide 22: Thank you